## 01_Cover
AETHERION |  |  |  |  | FINANCIAL MODEL
ENERGY |  |  |  |  | v4.0 · Institutional Edition · May 2026
Tocantins Green Energy & Datacenter Campus
2 GWac Solar · 200 MW × 4h BESS · 300-400 MW IT 24/7 CFE Datacenter · 50 MW H₂V
EXECUTIVE DASHBOARD
Total CAPEX |  | Unlevered IRR (P50) |  | Equity IRR (P50) | DSCR avg |  | LCOE blended |  | NPV equity @ 10%
4551.2572 |  | 20.16% |  | 29.8% | 3.6135 |  | 117.793 |  | 5870.789
PROJECT SPECIFICATIONS
Solar nameplate AC | 2000 |  | Solar nameplate DC | 2640 | BESS power | 200 |  | BESS energy | 800
Datacenter IT load | 350 |  | H₂V electrolyzer | 50 | Total land | 10589.2 |  | Usable area (AA+ARD) | 4221.96
Capacity factor P50 | 31.2% |  | Construction period | 36 | Operating life | 30 |  | Currency base | "USD"
WORKBOOK INDEX
01 | Cover & Dashboard |  |  | this sheet · executive view
02 | Assumptions |  |  | all input parameters (engineering, financial, fiscal, commercial)
03 | Revenue Build |  |  | solar PPA + 24/7 CFE + BESS arbitrage + i-RECs + H₂V
04 | CAPEX Schedule |  |  | 5-year build · 9 cost categories · phased disbursement
05 | OPEX Schedule |  |  | O&M (fixed + variable), insurance, land lease, fiscal
06 | Debt Waterfall |  |  | BNDES BRL + IDB USD + commercial · cascata ano-a-ano
07 | P&L Statement |  |  | 30-year operating P&L · taxes detail
08 | Cash Flow |  |  | operating + investing + financing cash flows
09 | Balance Sheet |  |  | assets / liabilities / equity per year
10 | Returns |  |  | IRR, NPV, DSCR, LCOE, equity multiple, payback
11 | Sensitivity |  |  | tornado diagram + 2-var tables
12 | Scenarios |  |  | P10 / P50 / P90 + Model A/B/C decisions
13 | Tax Detail |  |  | SUDAM, REIDI, IRPJ, CSLL, PIS, COFINS, ICMS, ISS
14 | Family LR&M |  |  | LandCo lease, royalty schedule, family yield curve
15 | Charts |  |  | embedded visualizations
16 | Data Sources |  |  | full reference table · auditable trails
AETHERION Energy · Confidential · For institutional investors only · Pre-FID estimates · ±15% precision

## 02_Assumptions
Assumptions · Master Input Sheet
All blue cells are user inputs · all data tied to '16_DataSources' references
1. SITE & ASSET
Parameter | Sub-category / Notes | Phase 1A | Phase 1B+2 | Total/Avg | Source ref
Total APR area | Single matrícula 082484 | 10589.2 |  |  | SIGAM-TO 2024/40319/082484
Usable area (AA + ARD) | Direct + reserve direct use | 4221.96 |  |  | Carta SIGAM-TO · pixel analysis
2. PV PLANT
PV nameplate AC | MWac · Phase 1A vs 1B+2 | 800 | 1200 | 2000 | BloombergNEF + Lazard
PV nameplate DC | MWp · DC/AC ratio 1.32 | 1056 | 1584 | 2640 | DC/AC ratio 1.32 oversizing
Capacity factor P50 | % net AC | 31.2% |  |  | Source: 16_DataSources!E8 · NASA POWER
DC/AC ratio | Oversizing factor | 1.32 |  |  | Industry standard 1.30-1.40
Energy yield year 1 | MWh/y | 5466240 |  | 5466240 | Calc: Pac × 8760h × CF
3. BESS · BATTERY ENERGY STORAGE
BESS power | MW · Phase 1B | 0 | 200 | 200 | Lazard LCOE+ 2025
BESS duration | Hours | 0 | 4 | 4 | 4h LFP standard
BESS energy | MWh | 0 | 800 | 800 | Calc: power × duration
4. DATACENTER & H₂V
Datacenter IT load | MW IT · Phase 2 | 0 | 350 | 350 | JLL DC Outlook 2026
Datacenter PUE target | Power Usage Effectiveness | 1.2 |  |  | Air-cooled + H₂ closed-loop
Datacenter facility load | MW total (IT × PUE) | 420 |  | 420 | Calc
H₂V electrolyzer capacity | MW | 0 | 50 | 50 | Pilot · Wood Mac 2026
5. PROJECT TIMELINE
Construction period | Months | 12 | 24 | 36 | Phased deployment
Operating life | Years | 30 |  |  | Industry standard solar + DC
Financial close target | Year | 2027 |  |  | Per project roadmap
6. CAPEX SUMMARY (linked from sheet 04)
Total CAPEX | USD M · Model B | 4551.2572 |  | 4551.2572 | Linked from CAPEX schedule
7. COMMERCIAL / REVENUE ASSUMPTIONS
Parameter | Sub-category / Notes | Phase 1A | Phase 1B+2 | Total/Avg | Source ref
PPA Solar Merchant (USD/MWh) | 10-15y term · CCEE benchmark | 38 | 0.02 |  | 16_DataSources!E25 · USD/MWh
PPA 24/7 CFE (USD/MWh) | Hyperscaler · 15-25y term | 72 | 0.025 |  | 16_DataSources!E26 · USD/MWh · MP 1.304
i-REC premium (USD/MWh) | Renewable certificate | 1.5 | 0.015 |  | 16_DataSources!E27
BESS arbitrage (USD/MW-day) | PLD horário CCEE | 16 | 0.02 |  | 16_DataSources!E29
H₂V offtake price (USD/kg) | Industrial green H₂ | 4.5 | 0.02 |  | Wood Mac LATAM H₂ 2026
H₂V efficiency (kWh/kg) | Electrolysis | 52 |  |  | PEM 2026 benchmark
Phase 1A revenue mix · % PPA Solar | Allocation | 100% |  |  | 100% merchant initially
Phase 1B+2 revenue mix · % CFE | After datacenter COD |  | 85% |  | 85% CFE, 15% merchant
8. CAPEX UNIT COSTS
PV module ASP | USD/Wp · Bifacial TOPCon 600+ | 0.105 |  |  | 16_DataSources!E5 · BNEF Q1 2026
PV BoS DC/AC/civil | USD/Wp | 0.39 |  |  | 16_DataSources!E6 · Lazard 2025
PV tracker | USD/Wp · single-axis | 0.085 |  |  | 16_DataSources!E7 · NEX/AT
PV inverter | USD/Wp | 0.045 |  |  | 16_DataSources!E8 · Sungrow/Huawei
PV EPC contingency | USD/Wp | 0.025 |  |  | 16_DataSources!E9 · 5% std
Total PV CAPEX | USD/Wp (sum) | 0.65 |  |  | Calc: sum of components
BESS unit cost | USD/kWh · 4h LFP | 280 |  |  | 16_DataSources!E10 · Lazard 2025
BESS BoS / integration | USD/kWh | 65 |  |  | 16_DataSources!E11 · BNEF 2026
Datacenter shell + IT | USD/W IT | 6 |  |  | 16_DataSources!E12 · JLL 2026
H₂V electrolyzer + BoP | USD/kW | 1100 |  |  | Wood Mac · PEM 2026
500 kV LT dedicated | USD M/km · 65 km total | 2.15 |  |  | 16_DataSources!E13 · ANEEL
500/138 kV substation | USD M (1.2 GVA total) | 85 |  |  | 16_DataSources!E14 · ABCE
9. OPEX ASSUMPTIONS
Solar O&M fixed | USD/kW-y | 12 | 0.02 |  | 16_DataSources!E33 · IRENA 2025
Solar O&M variable | USD/MWh | 1.5 |  |  | Standard industry
BESS O&M | USD/kW-y | 8 | 0.02 |  | 16_DataSources!E34 · Lazard
Datacenter O&M fixed | USD/kW IT-y | 220 | 0.025 |  | 16_DataSources!E35 · Uptime 2026
Insurance (% CAPEX) | Project insurance | 0.35% |  |  | 16_DataSources!E36 · Marsh/AON
Land lease LandCo → SubCo | USD/ha-y | 35 | 0.045 |  | 16_DataSources!E37 · IPCA-indexed
Module degradation | %/y | 0.5% |  |  | 0.5%/y industry
10. FINANCIAL ASSUMPTIONS
USD/BRL FX (long term) | Reference rate | 5.1 | 0.02 |  | 16_DataSources!E17 · BCB Focus
USD inflation (long term) | %/y | 2.2% |  |  | US PCE 5y forward
BRL inflation (IPCA) | %/y | 4.5% |  |  | 16_DataSources!E19 · BCB Focus
Discount rate (WACC USD) | Real WACC for DCF | 8.5% |  |  | Equity 12% + Debt 7%, 65/35
Equity cost of capital | Real USD | 12% |  |  | Latin infra premium · CAPM-derived
BNDES BRL debt rate (TLP + spread) | %/y · 18y tenor | 10.5% |  |  | 16_DataSources!E20 · TLP 9.5% + 1%
IDB Invest USD debt rate | %/y · 20y tenor | 7.5% |  |  | 16_DataSources!E21 · SOFR+350bps
Debt-equity ratio | Project finance std | 65% |  |  | 65% debt / 35% equity
Debt amortization period | Years | 18 |  |  | BNDES Finem Solar standard
DSCR target | Min covenant | 1.3 |  |  | Bankable threshold
11. FISCAL FRAMEWORK
IRPJ rate (standard) | Corporate tax | 25% |  |  | 16_DataSources!E32
SUDAM reduction (10y) | 75% of IRPJ | 75% |  |  | 16_DataSources!E30 · MP 1.300/2025
SUDAM duration | Years | 10 |  |  | Lei 13.799/2019
CSLL rate | Social contribution | 9% |  |  | 16_DataSources!E33
PIS/COFINS suspension (REIDI) | Construction phase | 9.25% |  |  | 16_DataSources!E31
PIS/COFINS standard (operations) | Cumulative | 9.25% |  |  | Receita Federal
12. SCENARIO SELECTOR (drives the model)
Active scenario (P10/P50/P90) | 1=P10, 2=P50, 3=P90 | 2 |  |  | Drives sensitivity calcs
Active model (A/B/C) | 1=A merchant, 2=B CFE, 3=C developer | 2 |  |  | Drives revenue mix
Capacity factor multiplier | Applied to P50 CF | 1 |  |  | P10=-5%, P50=0%, P90=+5%
Revenue multiplier | Applied to prices | 1 |  |  | P10=-8%, P50=0%, P90=+10%
CAPEX multiplier | Applied to total CAPEX | 1 |  |  | P10=+12%, P50=0%, P90=-5%

## 03_Revenue
Revenue Build · 30-Year Operating Profile · USD million
Solar PPA + 24/7 CFE + i-RECs + BESS arbitrage + H₂V · ramped up over Phase 1A → 2
Item / Year | Unit | Y1 | Y2 | Y3 | Y4 | Y5 | Y6 | Y7 | Y8 | Y9 | Y10 | Y11 | Y12 | Y13 | Y14 | Y15 | Y16 | Y17 | Y18 | Y19 | Y20 | Y21 | Y22 | Y23 | Y24 | Y25 | Y26 | Y27 | Y28 | Y29 | Y30
|  | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050 | 2051 | 2052 | 2053 | 2054 | 2055 | 2056 | 2057 | 2058 | 2059
Operating year |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30
1. ENERGY GENERATION (GWh)
Solar generation (gross, GWh) | GWh | 2186.496 | 2175.5635 | 5444.4297 | 5417.2076 | 5390.1215 | 5363.1709 | 5336.3551 | 5309.6733 | 5283.1249 | 5256.7093 | 5230.4257 | 5204.2736 | 5178.2522 | 5152.361 | 5126.5992 | 5100.9662 | 5075.4614 | 5050.084 | 5024.8336 | 4999.7095 | 4974.7109 | 4949.8374 | 4925.0882 | 4900.4627 | 4875.9604 | 4851.5806 | 4827.3227 | 4803.1861 | 4779.1702 | 4755.2743
2. REVENUE STREAMS (USD M)
Solar PPA Merchant | USD M | 83.0868 | 84.3248 | 32.287 | 32.7681 | 33.2563 | 33.7518 | 34.2547 | 34.7651 | 35.2831 | 35.8088 | 36.3424 | 36.8839 | 37.4335 | 37.9912 | 38.5573 | 39.1318 | 39.7149 | 40.3066 | 40.9072 | 41.5167 | 42.1353 | 42.7631 | 43.4003 | 44.047 | 44.7033 | 45.3693 | 46.0453 | 46.7314 | 47.4277 | 48.1344
24/7 CFE PPA (Datacenter) | USD M | 0 | 0 | 333.1991 | 339.8214 | 346.5754 | 353.4636 | 360.4887 | 367.6534 | 374.9605 | 382.4128 | 390.0133 | 397.7648 | 405.6704 | 413.7331 | 421.956 | 430.3424 | 438.8954 | 447.6185 | 456.5149 | 465.5881 | 474.8417 | 484.2792 | 493.9042 | 503.7206 | 513.732 | 523.9424 | 534.3558 | 544.9761 | 555.8075 | 566.8542
i-REC certificate premium | USD M | 3.2797 | 3.3123 | 8.4135 | 8.497 | 8.5813 | 8.6665 | 8.7525 | 8.8394 | 8.9271 | 9.0157 | 9.1052 | 9.1956 | 9.2868 | 9.379 | 9.4721 | 9.5661 | 9.661 | 9.7569 | 9.8538 | 9.9516 | 10.0503 | 10.1501 | 10.2508 | 10.3525 | 10.4553 | 10.5591 | 10.6639 | 10.7697 | 10.8766 | 10.9845
BESS energy arbitrage | USD M | 0 | 0 | 1168 | 1191.36 | 1215.1872 | 1239.4909 | 1264.2808 | 1289.5664 | 1315.3577 | 1341.6649 | 1368.4982 | 1395.8681 | 1423.7855 | 1452.2612 | 1481.3064 | 1510.9325 | 1541.1512 | 1571.9742 | 1603.4137 | 1635.482 | 1668.1916 | 1701.5554 | 1735.5866 | 1770.2983 | 1805.7043 | 1841.8183 | 1878.6547 | 1916.2278 | 1954.5524 | 1993.6434
H₂V offtake revenue | USD M | 0 | 0 | 0 | 0 | 32.2183 | 32.8626 | 33.5199 | 34.1903 | 34.8741 | 35.5716 | 36.283 | 37.0087 | 37.7488 | 38.5038 | 39.2739 | 40.0594 | 40.8606 | 41.6778 | 42.5113 | 43.3615 | 44.2288 | 45.1134 | 46.0156 | 46.9359 | 47.8747 | 48.8321 | 49.8088 | 50.805 | 51.8211 | 52.8575
TOTAL REVENUE | USD M | 86.3666 | 87.6371 | 1541.8996 | 1572.4465 | 1635.8185 | 1668.2355 | 1701.2965 | 1735.0145 | 1769.4025 | 1804.4738 | 1840.242 | 1876.721 | 1913.925 | 1951.8683 | 1990.5657 | 2030.0322 | 2070.2831 | 2111.334 | 2153.2009 | 2195.8999 | 2239.4477 | 2283.8612 | 2329.1575 | 2375.3543 | 2422.4695 | 2470.5213 | 2519.5285 | 2569.51 | 2620.4852 | 2672.474
Cumulative revenue | USD M | 86.3666 | 174.0037 | 1715.9033 | 3288.3498 | 4924.1683 | 6592.4037 | 8293.7003 | 10028.7148 | 11798.1173 | 13602.5911 | 15442.8331 | 17319.5542 | 19233.4791 | 21185.3474 | 23175.9131 | 25205.9453 | 27276.2284 | 29387.5624 | 31540.7632 | 33736.6632 | 35976.1109 | 38259.972 | 40589.1295 | 42964.4838 | 45386.9533 | 47857.4747 | 50377.0031 | 52946.5131 | 55566.9984 | 58239.4724

## 04_CAPEX
CAPEX Schedule · Phased Build · USD million
Five-year disbursement aligned with construction Gantt · Model B base case · scenario multiplier applied
CAPEX BY CATEGORY × YEAR
Cost Item | Unit cost | Y1 (2027) | Y2 (2028) | Y3 (2029) | Y4 (2030) | Y5 (2031) | TOTAL | % of CAPEX | Notes
Modules (Bifacial TOPCon) |  | 27.72 | 124.74 | 124.74 | 0 | 0 | 277.2 | 6.091% | BNEF · 2026 spot
BoS DC/AC/civil |  | 154.44 | 514.8 | 360.36 | 0 | 0 | 1029.6 | 22.62% | Lazard 2025
Tracker structure |  | 44.88 | 112.2 | 67.32 | 0 | 0 | 224.4 | 4.931% | Nextracker / AT bids
Inverter |  | 11.88 | 47.52 | 59.4 | 0 | 0 | 118.8 | 2.61% | Sungrow / Huawei
EPC contingency |  | 9.9 | 26.4 | 29.7 | 0 | 0 | 66 | 1.45% | 5% EPC standard
Solar PV subtotal |  | 248.82 | 825.66 | 641.52 | 0 | 0 | 1716 | 37.7%
BATTERY STORAGE
BESS · LFP 4h |  | 0 | 0 | 138 | 138 | 0 | 276 | 6.064% | Lazard 2025 + BNEF BoS
DATACENTER & H₂V
Datacenter shell + IT mech/elec |  | 0 | 0 | 210 | 1155 | 735 | 2100 | 46.14% | JLL DC Outlook 2026 · LATAM tier
H₂V electrolyzer + BoP |  | 0 | 0 | 0 | 27.5 | 27.5 | 55 | 1.208% | PEM electrolyzer · Wood Mac
TRANSMISSION
500 kV LT dedicated (65 km) |  | 13.975 | 55.9 | 69.875 | 0 | 0 | 139.75 | 3.071% | ANEEL 502/2022 · 2.15 USD M/km
500/138 kV substation |  | 8.5 | 42.5 | 34 | 0 | 0 | 85 | 1.868% | ABCE 2025 · 1.2 GVA
PRE-WORKS
TO-020 paving (9 km · 50% shared SETRANS-TO) |  | 2.5 | 2.5 | 0 | 0 | 0 | 5 | 0.1099% | Shared CAPEX with State
Internal access road (3-5 km BGS+CBUQ) |  | 2.5 | 2.5 | 0 | 0 | 0 | 5 | 0.1099% | AETHERION CAPEX
Worksite yard (15 ha concreted) |  | 2.5 | 0 | 0 | 0 | 0 | 2.5 | 0.05493% | AA zone
Provisional 138 kV worksite SS |  | 1.5 | 1.5 | 0 | 0 | 0 | 3 | 0.06592%
Artesian well + WTP + reservoir |  | 0.72 | 0.48 | 0 | 0 | 0 | 1.2 | 0.02637%
Modular lodging 1,500 beds (3y lease) |  | 2.4 | 1.8 | 1.8 | 0 | 0 | 6 | 0.1318% | Returnable lease
Mess + heliport + fueling |  | 1.45 | 1.45 | 0 | 0 | 0 | 2.9 | 0.06372%
EPCM, due diligence, contingency 5% |  | 30.7814 | 38.4768 | 30.7814 | 30.7814 | 23.0861 | 153.9073 | 3.382% | 3.5% standard
CAPEX subtotal (base) |  | 315.6465 | 972.7668 | 1125.9765 | 1351.2814 | 785.5861 | 4551.2572 | 100%
TOTAL CAPEX (× scenario CAPEX multiplier) |  | 315.6465 | 972.7668 | 1125.9765 | 1351.2814 | 785.5861 | 4551.2572 | 100% | × scenario factor from Assumptions!D83
Cumulative CAPEX |  | 315.6465 | 1288.4133 | 2414.3897 | 3765.6712 | 4551.2572 | 4551.2572

## 05_OPEX
OPEX Schedule · 30-Year · USD M
Solar O&M + BESS + DC + insurance + land lease · IPCA/USD indexed
Line Item | Unit | Y1 | Y2 | Y3 | Y4 | Y5 | Y6 | Y7 | Y8 | Y9 | Y10 | Y11 | Y12 | Y13 | Y14 | Y15 | Y16 | Y17 | Y18 | Y19 | Y20 | Y21 | Y22 | Y23 | Y24 | Y25 | Y26 | Y27 | Y28 | Y29 | Y30
|  | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050 | 2051 | 2052 | 2053 | 2054 | 2055 | 2056 | 2057 | 2058 | 2059
Operating year |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30
1. FIXED O&M
Solar O&M fixed | USD M | 9.6 | 9.792 | 24.9696 | 25.469 | 25.9784 | 26.4979 | 27.0279 | 27.5685 | 28.1198 | 28.6822 | 29.2559 | 29.841 | 30.4378 | 31.0466 | 31.6675 | 32.3008 | 32.9469 | 33.6058 | 34.2779 | 34.9635 | 35.6627 | 36.376 | 37.1035 | 37.8456 | 38.6025 | 39.3745 | 40.162 | 40.9653 | 41.7846 | 42.6203
BESS O&M | USD M | 0 | 0 | 1.6 | 1.632 | 1.6646 | 1.6979 | 1.7319 | 1.7665 | 1.8019 | 1.8379 | 1.8747 | 1.9121 | 1.9504 | 1.9894 | 2.0292 | 2.0698 | 2.1112 | 2.1534 | 2.1965 | 2.2404 | 2.2852 | 2.3309 | 2.3775 | 2.4251 | 2.4736 | 2.523 | 2.5735 | 2.625 | 2.6775 | 2.731
Datacenter O&M fixed | USD M | 0 | 0 | 77 | 78.925 | 80.8981 | 82.9206 | 84.9936 | 87.1184 | 89.2964 | 91.5288 | 93.817 | 96.1624 | 98.5665 | 101.0307 | 103.5564 | 106.1454 | 108.799 | 111.519 | 114.3069 | 117.1646 | 120.0937 | 123.0961 | 126.1735 | 129.3278 | 132.561 | 135.875 | 139.2719 | 142.7537 | 146.3225 | 149.9806
Insurance | USD M | 15.9294 | 15.9294 | 15.9294 | 15.9294 | 15.9294 | 15.9294 | 15.9294 | 15.9294 | 15.9294 | 15.9294 | 15.9294 | 15.9294 | 15.9294 | 15.9294 | 15.9294 | 15.9294 | 15.9294 | 15.9294 | 15.9294 | 15.9294 | 15.9294 | 15.9294 | 15.9294 | 15.9294 | 15.9294 | 15.9294 | 15.9294 | 15.9294 | 15.9294 | 15.9294
Land lease | USD M | 0.14777 | 0.15442 | 0.16137 | 0.16863 | 0.17622 | 0.18415 | 0.19243 | 0.20109 | 0.21014 | 0.2196 | 0.22948 | 0.23981 | 0.2506 | 0.26187 | 0.27366 | 0.28597 | 0.29884 | 0.31229 | 0.32634 | 0.34103 | 0.35638 | 0.37241 | 0.38917 | 0.40668 | 0.42498 | 0.44411 | 0.46409 | 0.48498 | 0.5068 | 0.52961
Fixed O&M subtotal | USD M | 25.6772 | 25.8758 | 119.6604 | 122.124 | 124.6468 | 127.23 | 129.8752 | 132.5839 | 135.3576 | 138.1979 | 141.1064 | 144.0848 | 147.1347 | 150.2579 | 153.4562 | 156.7313 | 160.0853 | 163.5198 | 167.037 | 170.6389 | 174.3274 | 178.1048 | 181.9731 | 185.9345 | 189.9914 | 194.1461 | 198.4009 | 202.7583 | 207.2208 | 211.7909
2. VARIABLE O&M
Solar variable O&M | USD M | 3.2797 | 3.2633 | 8.1666 | 8.1258 | 8.0852 | 8.0448 | 8.0045 | 7.9645 | 7.9247 | 7.8851 | 7.8456 | 7.8064 | 7.7674 | 7.7285 | 7.6899 | 7.6514 | 7.6132 | 7.5751 | 7.5373 | 7.4996 | 7.4621 | 7.4248 | 7.3876 | 7.3507 | 7.3139 | 7.2774 | 7.241 | 7.2048 | 7.1688 | 7.1329
Variable subtotal | USD M | 3.2797 | 3.2633 | 8.1666 | 8.1258 | 8.0852 | 8.0448 | 8.0045 | 7.9645 | 7.9247 | 7.8851 | 7.8456 | 7.8064 | 7.7674 | 7.7285 | 7.6899 | 7.6514 | 7.6132 | 7.5751 | 7.5373 | 7.4996 | 7.4621 | 7.4248 | 7.3876 | 7.3507 | 7.3139 | 7.2774 | 7.241 | 7.2048 | 7.1688 | 7.1329
3. TOTAL OPEX
TOTAL OPEX | USD M | 28.9569 | 29.1392 | 127.827 | 130.2498 | 132.7319 | 135.2748 | 137.8797 | 140.5484 | 143.2823 | 146.083 | 148.9521 | 151.8912 | 154.9021 | 157.9864 | 161.1461 | 164.3828 | 167.6984 | 171.095 | 174.5743 | 178.1385 | 181.7895 | 185.5295 | 189.3607 | 193.2852 | 197.3054 | 201.4235 | 205.6419 | 209.9631 | 214.3895 | 218.9238
Cumulative OPEX | USD M | 28.9569 | 58.0961 | 185.9231 | 316.1729 | 448.9049 | 584.1796 | 722.0594 | 862.6078 | 1005.8901 | 1151.9731 | 1300.9251 | 1452.8163 | 1607.7184 | 1765.7049 | 1926.8509 | 2091.2337 | 2258.9322 | 2430.0271 | 2604.6014 | 2782.7399 | 2964.5294 | 3150.0589 | 3339.4196 | 3532.7048 | 3730.0102 | 3931.4337 | 4137.0756 | 4347.0387 | 4561.4282 | 4780.3521

## 06_Debt
Debt Waterfall · 30-Year · USD M
BNDES BRL (TLP+1%) + IDB USD (SOFR+350bps) · grace 2y · annuity amort
Line Item | Unit | Y1 | Y2 | Y3 | Y4 | Y5 | Y6 | Y7 | Y8 | Y9 | Y10 | Y11 | Y12 | Y13 | Y14 | Y15 | Y16 | Y17 | Y18 | Y19 | Y20 | Y21 | Y22 | Y23 | Y24 | Y25 | Y26 | Y27 | Y28 | Y29 | Y30
|  | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050 | 2051 | 2052 | 2053 | 2054 | 2055 | 2056 | 2057 | 2058 | 2059
Operating year |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30
DEBT STRUCTURE
Total CAPEX |  | Y1 2030 1: 4551.2572
Total debt (65%) |  | Y1 2030 1: 2958.3172
BNDES tranche (60%) |  | Y1 2030 1: 1774.9903
IDB tranche (40%) |  | Y1 2030 1: 1183.3269
Total equity (35%) |  | Y1 2030 1: 1592.94
BNDES TRANCHE (USD M)
BNDES opening | USD M | 1774.9903 | 1774.9903 | 1774.9903 | 1727.6968 | 1675.4374 | 1617.6908 | 1553.8808 | 1483.3707 | 1405.4571 | 1319.3626 | 1224.2281 | 1119.1045 | 1002.943 | 874.5845 | 732.7483 | 576.0193 | 402.8338 | 211.4638 | 2.3874e-12 | 2.3874e-12 | 2.3874e-12 | 2.3874e-12 | 2.3874e-12 | 2.3874e-12 | 2.3874e-12 | 2.3874e-12 | 2.3874e-12 | 2.3874e-12 | 2.3874e-12 | 2.3874e-12
BNDES interest | USD M | 186.374 | 186.374 | 186.374 | 181.4082 | 175.9209 | 169.8575 | 163.1575 | 155.7539 | 147.573 | 138.5331 | 128.544 | 117.506 | 105.309 | 91.8314 | 76.9386 | 60.482 | 42.2976 | 22.2037 | 2.5068e-13 | 2.5068e-13 | 2.5068e-13 | 2.5068e-13 | 2.5068e-13 | 2.5068e-13 | 2.5068e-13 | 2.5068e-13 | 2.5068e-13 | 2.5068e-13 | 2.5068e-13 | 2.5068e-13
BNDES principal | USD M | 0 | 0 | 47.2936 | 52.2594 | 57.7466 | 63.81 | 70.5101 | 77.9136 | 86.0945 | 95.1345 | 105.1236 | 116.1616 | 128.3585 | 141.8362 | 156.729 | 173.1855 | 191.37 | 211.4638 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BNDES total service | USD M | 186.374 | 186.374 | 233.6675 | 233.6675 | 233.6675 | 233.6675 | 233.6675 | 233.6675 | 233.6675 | 233.6675 | 233.6675 | 233.6675 | 233.6675 | 233.6675 | 233.6675 | 233.6675 | 233.6675 | 233.6675 | 2.5068e-13 | 2.5068e-13 | 2.5068e-13 | 2.5068e-13 | 2.5068e-13 | 2.5068e-13 | 2.5068e-13 | 2.5068e-13 | 2.5068e-13 | 2.5068e-13 | 2.5068e-13 | 2.5068e-13
BNDES closing | USD M | 1774.9903 | 1774.9903 | 1727.6968 | 1675.4374 | 1617.6908 | 1553.8808 | 1483.3707 | 1405.4571 | 1319.3626 | 1224.2281 | 1119.1045 | 1002.943 | 874.5845 | 732.7483 | 576.0193 | 402.8338 | 211.4638 | 2.3874e-12 | 2.3874e-12 | 2.3874e-12 | 2.3874e-12 | 2.3874e-12 | 2.3874e-12 | 2.3874e-12 | 2.3874e-12 | 2.3874e-12 | 2.3874e-12 | 2.3874e-12 | 2.3874e-12 | 2.3874e-12
IDB TRANCHE (USD M)
IDB opening | USD M | 1183.3269 | 1183.3269 | 1183.3269 | 1150.1595 | 1114.5045 | 1076.1754 | 1034.9716 | 990.6775 | 943.0614 | 891.8741 | 836.8477 | 777.6944 | 714.1045 | 645.7454 | 572.2594 | 493.2619 | 408.3396 | 317.0481 | 218.9098 | 113.4111 | -8.3844e-13 | -8.3844e-13 | -8.3844e-13 | -8.3844e-13 | -8.3844e-13 | -8.3844e-13 | -8.3844e-13 | -8.3844e-13 | -8.3844e-13 | -8.3844e-13
IDB interest | USD M | 88.7495 | 88.7495 | 88.7495 | 86.262 | 83.5878 | 80.7132 | 77.6229 | 74.3008 | 70.7296 | 66.8906 | 62.7636 | 58.3271 | 53.5578 | 48.4309 | 42.9195 | 36.9946 | 30.6255 | 23.7786 | 16.4182 | 8.5058 | -6.2883e-14 | -6.2883e-14 | -6.2883e-14 | -6.2883e-14 | -6.2883e-14 | -6.2883e-14 | -6.2883e-14 | -6.2883e-14 | -6.2883e-14 | -6.2883e-14
IDB principal | USD M | 0 | 0 | 33.1674 | 35.655 | 38.3291 | 41.2038 | 44.2941 | 47.6161 | 51.1873 | 55.0264 | 59.1534 | 63.5899 | 68.3591 | 73.486 | 78.9975 | 84.9223 | 91.2915 | 98.1383 | 105.4987 | 113.4111 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
IDB total service | USD M | 88.7495 | 88.7495 | 121.9169 | 121.9169 | 121.9169 | 121.9169 | 121.9169 | 121.9169 | 121.9169 | 121.9169 | 121.9169 | 121.9169 | 121.9169 | 121.9169 | 121.9169 | 121.9169 | 121.9169 | 121.9169 | 121.9169 | 121.9169 | -6.2883e-14 | -6.2883e-14 | -6.2883e-14 | -6.2883e-14 | -6.2883e-14 | -6.2883e-14 | -6.2883e-14 | -6.2883e-14 | -6.2883e-14 | -6.2883e-14
IDB closing | USD M | 1183.3269 | 1183.3269 | 1150.1595 | 1114.5045 | 1076.1754 | 1034.9716 | 990.6775 | 943.0614 | 891.8741 | 836.8477 | 777.6944 | 714.1045 | 645.7454 | 572.2594 | 493.2619 | 408.3396 | 317.0481 | 218.9098 | 113.4111 | -8.3844e-13 | -8.3844e-13 | -8.3844e-13 | -8.3844e-13 | -8.3844e-13 | -8.3844e-13 | -8.3844e-13 | -8.3844e-13 | -8.3844e-13 | -8.3844e-13 | -8.3844e-13
TOTAL DEBT SERVICE
Total interest | USD M | 275.1235 | 275.1235 | 275.1235 | 267.6701 | 259.5088 | 250.5707 | 240.7804 | 230.0547 | 218.3026 | 205.4236 | 191.3075 | 175.8331 | 158.8669 | 140.2623 | 119.858 | 97.4767 | 72.923 | 45.9823 | 16.4182 | 8.5058 | 1.878e-13 | 1.878e-13 | 1.878e-13 | 1.878e-13 | 1.878e-13 | 1.878e-13 | 1.878e-13 | 1.878e-13 | 1.878e-13 | 1.878e-13
Total principal | USD M | 0 | 0 | 80.461 | 87.9144 | 96.0757 | 105.0138 | 114.8041 | 125.5297 | 137.2819 | 150.1608 | 164.2769 | 179.7514 | 196.7176 | 215.3222 | 235.7264 | 258.1078 | 282.6615 | 309.6022 | 105.4987 | 113.4111 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOTAL DEBT SERVICE | USD M | 275.1235 | 275.1235 | 355.5845 | 355.5845 | 355.5845 | 355.5845 | 355.5845 | 355.5845 | 355.5845 | 355.5845 | 355.5845 | 355.5845 | 355.5845 | 355.5845 | 355.5845 | 355.5845 | 355.5845 | 355.5845 | 121.9169 | 121.9169 | 1.878e-13 | 1.878e-13 | 1.878e-13 | 1.878e-13 | 1.878e-13 | 1.878e-13 | 1.878e-13 | 1.878e-13 | 1.878e-13 | 1.878e-13
Total outstanding | USD M | 2958.3172 | 2958.3172 | 2877.8562 | 2789.9419 | 2693.8662 | 2588.8524 | 2474.0483 | 2348.5186 | 2211.2367 | 2061.0758 | 1896.7989 | 1717.0475 | 1520.3299 | 1305.0077 | 1069.2812 | 811.1734 | 528.512 | 218.9098 | 113.4111 | 1.549e-12 | 1.549e-12 | 1.549e-12 | 1.549e-12 | 1.549e-12 | 1.549e-12 | 1.549e-12 | 1.549e-12 | 1.549e-12 | 1.549e-12 | 1.549e-12

## 07_PnL
Profit & Loss · 30-Year · USD M
Revenue → EBITDA → EBIT → EBT → Net Income (incl. SUDAM benefit)
Line Item | Unit | Y1 | Y2 | Y3 | Y4 | Y5 | Y6 | Y7 | Y8 | Y9 | Y10 | Y11 | Y12 | Y13 | Y14 | Y15 | Y16 | Y17 | Y18 | Y19 | Y20 | Y21 | Y22 | Y23 | Y24 | Y25 | Y26 | Y27 | Y28 | Y29 | Y30
|  | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050 | 2051 | 2052 | 2053 | 2054 | 2055 | 2056 | 2057 | 2058 | 2059
Operating year |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30
REVENUE
Total revenue | USD M | 86.3666 | 87.6371 | 1541.8996 | 1572.4465 | 1635.8185 | 1668.2355 | 1701.2965 | 1735.0145 | 1769.4025 | 1804.4738 | 1840.242 | 1876.721 | 1913.925 | 1951.8683 | 1990.5657 | 2030.0322 | 2070.2831 | 2111.334 | 2153.2009 | 2195.8999 | 2239.4477 | 2283.8612 | 2329.1575 | 2375.3543 | 2422.4695 | 2470.5213 | 2519.5285 | 2569.51 | 2620.4852 | 2672.474
OPERATING EXPENSES
Total OPEX | USD M | -28.9569 | -29.1392 | -127.827 | -130.2498 | -132.7319 | -135.2748 | -137.8797 | -140.5484 | -143.2823 | -146.083 | -148.9521 | -151.8912 | -154.9021 | -157.9864 | -161.1461 | -164.3828 | -167.6984 | -171.095 | -174.5743 | -178.1385 | -181.7895 | -185.5295 | -189.3607 | -193.2852 | -197.3054 | -201.4235 | -205.6419 | -209.9631 | -214.3895 | -218.9238
EBITDA
EBITDA | USD M | 57.4097 | 58.498 | 1414.0726 | 1442.1967 | 1503.0865 | 1532.9607 | 1563.4168 | 1594.4661 | 1626.1202 | 1658.3908 | 1691.29 | 1724.8298 | 1759.0229 | 1793.8818 | 1829.4196 | 1865.6494 | 1902.5846 | 1940.239 | 1978.6266 | 2017.7615 | 2057.6582 | 2098.3316 | 2139.7968 | 2182.0691 | 2225.1641 | 2269.0978 | 2313.8866 | 2359.5469 | 2406.0957 | 2453.5502
EBITDA margin | % | 66.47% | 66.75% | 91.71% | 91.72% | 91.89% | 91.89% | 91.9% | 91.9% | 91.9% | 91.9% | 91.91% | 91.91% | 91.91% | 91.91% | 91.9% | 91.9% | 91.9% | 91.9% | 91.89% | 91.89% | 91.88% | 91.88% | 91.87% | 91.86% | 91.86% | 91.85% | 91.84% | 91.83% | 91.82% | 91.81%
D&A
Depreciation | USD M | -151.7086 | -151.7086 | -151.7086 | -151.7086 | -151.7086 | -151.7086 | -151.7086 | -151.7086 | -151.7086 | -151.7086 | -151.7086 | -151.7086 | -151.7086 | -151.7086 | -151.7086 | -151.7086 | -151.7086 | -151.7086 | -151.7086 | -151.7086 | -151.7086 | -151.7086 | -151.7086 | -151.7086 | -151.7086 | -151.7086 | -151.7086 | -151.7086 | -151.7086 | -151.7086
EBIT
EBIT | USD M | -94.2989 | -93.2106 | 1262.364 | 1290.4881 | 1351.378 | 1381.2521 | 1411.7082 | 1442.7575 | 1474.4116 | 1506.6822 | 1539.5814 | 1573.1213 | 1607.3143 | 1642.1733 | 1677.711 | 1713.9408 | 1750.8761 | 1788.5305 | 1826.918 | 1866.0529 | 1905.9496 | 1946.6231 | 1988.0882 | 2030.3605 | 2073.4555 | 2117.3893 | 2162.178 | 2207.8383 | 2254.3871 | 2301.8416
INTEREST
Interest expense | USD M | -275.1235 | -275.1235 | -275.1235 | -267.6701 | -259.5088 | -250.5707 | -240.7804 | -230.0547 | -218.3026 | -205.4236 | -191.3075 | -175.8331 | -158.8669 | -140.2623 | -119.858 | -97.4767 | -72.923 | -45.9823 | -16.4182 | -8.5058 | -1.878e-13 | -1.878e-13 | -1.878e-13 | -1.878e-13 | -1.878e-13 | -1.878e-13 | -1.878e-13 | -1.878e-13 | -1.878e-13 | -1.878e-13
EBT
EBT | USD M | -369.4224 | -368.3341 | 987.2405 | 1022.818 | 1091.8692 | 1130.6814 | 1170.9279 | 1212.7028 | 1256.109 | 1301.2586 | 1348.2738 | 1397.2882 | 1448.4475 | 1501.911 | 1557.853 | 1616.4642 | 1677.953 | 1742.5482 | 1810.4998 | 1857.5471 | 1905.9496 | 1946.6231 | 1988.0882 | 2030.3605 | 2073.4555 | 2117.3893 | 2162.178 | 2207.8383 | 2254.3871 | 2301.8416
TAXES
IRPJ (with SUDAM) | USD M | 0 | 0 | -61.7025 | -63.9261 | -68.2418 | -70.6676 | -73.183 | -75.7939 | -78.5068 | -81.3287 | -337.0685 | -349.322 | -362.1119 | -375.4777 | -389.4633 | -404.116 | -419.4883 | -435.637 | -452.6249 | -464.3868 | -476.4874 | -486.6558 | -497.0221 | -507.5901 | -518.3639 | -529.3473 | -540.5445 | -551.9596 | -563.5968 | -575.4604
CSLL (9%) | USD M | 0 | 0 | -88.8516 | -92.0536 | -98.2682 | -101.7613 | -105.3835 | -109.1433 | -113.0498 | -117.1133 | -121.3446 | -125.7559 | -130.3603 | -135.172 | -140.2068 | -145.4818 | -151.0158 | -156.8293 | -162.945 | -167.1792 | -171.5355 | -175.1961 | -178.9279 | -182.7324 | -186.611 | -190.565 | -194.596 | -198.7054 | -202.8948 | -207.1657
NET INCOME
Net income | USD M | -369.4224 | -368.3341 | 836.6863 | 866.8382 | 925.3592 | 958.2525 | 992.3614 | 1027.7656 | 1064.5524 | 1102.8167 | 889.8607 | 922.2102 | 955.9753 | 991.2613 | 1028.183 | 1066.8663 | 1107.449 | 1150.0818 | 1194.9298 | 1225.9811 | 1257.9268 | 1284.7712 | 1312.1382 | 1340.0379 | 1368.4806 | 1397.4769 | 1427.0375 | 1457.1733 | 1487.8955 | 1519.2155
Net margin | % | -427.7% | -420.3% | 54.26% | 55.13% | 56.57% | 57.44% | 58.33% | 59.24% | 60.16% | 61.12% | 48.36% | 49.14% | 49.95% | 50.79% | 51.65% | 52.55% | 53.49% | 54.47% | 55.5% | 55.83% | 56.17% | 56.25% | 56.34% | 56.41% | 56.49% | 56.57% | 56.64% | 56.71% | 56.78% | 56.85%

## 08_CashFlow
Cash Flow Statement · 30-Year · USD M
Operating + Investing + Financing CFs
Line Item | Unit | Y1 | Y2 | Y3 | Y4 | Y5 | Y6 | Y7 | Y8 | Y9 | Y10 | Y11 | Y12 | Y13 | Y14 | Y15 | Y16 | Y17 | Y18 | Y19 | Y20 | Y21 | Y22 | Y23 | Y24 | Y25 | Y26 | Y27 | Y28 | Y29 | Y30
|  | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050 | 2051 | 2052 | 2053 | 2054 | 2055 | 2056 | 2057 | 2058 | 2059
Operating year |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30
OPERATING
Net income | USD M | -369.4224 | -368.3341 | 836.6863 | 866.8382 | 925.3592 | 958.2525 | 992.3614 | 1027.7656 | 1064.5524 | 1102.8167 | 889.8607 | 922.2102 | 955.9753 | 991.2613 | 1028.183 | 1066.8663 | 1107.449 | 1150.0818 | 1194.9298 | 1225.9811 | 1257.9268 | 1284.7712 | 1312.1382 | 1340.0379 | 1368.4806 | 1397.4769 | 1427.0375 | 1457.1733 | 1487.8955 | 1519.2155
(+) Depreciation | USD M | 151.7086 | 151.7086 | 151.7086 | 151.7086 | 151.7086 | 151.7086 | 151.7086 | 151.7086 | 151.7086 | 151.7086 | 151.7086 | 151.7086 | 151.7086 | 151.7086 | 151.7086 | 151.7086 | 151.7086 | 151.7086 | 151.7086 | 151.7086 | 151.7086 | 151.7086 | 151.7086 | 151.7086 | 151.7086 | 151.7086 | 151.7086 | 151.7086 | 151.7086 | 151.7086
Operating CF | USD M | -217.7138 | -216.6255 | 988.3949 | 1018.5468 | 1077.0677 | 1109.9611 | 1144.0699 | 1179.4742 | 1216.261 | 1254.5252 | 1041.5693 | 1073.9188 | 1107.6839 | 1142.9698 | 1179.8916 | 1218.5749 | 1259.1576 | 1301.7904 | 1346.6384 | 1377.6896 | 1409.6353 | 1436.4798 | 1463.8468 | 1491.7465 | 1520.1892 | 1549.1855 | 1578.7461 | 1608.8819 | 1639.6041 | 1670.924
INVESTING
Maintenance CAPEX | USD M | 0 | 0 | -22.7563 | -22.7563 | -22.7563 | -22.7563 | -22.7563 | -22.7563 | -22.7563 | -22.7563 | -22.7563 | -22.7563 | -22.7563 | -22.7563 | -22.7563 | -22.7563 | -22.7563 | -22.7563 | -22.7563 | -22.7563 | -22.7563 | -22.7563 | -22.7563 | -22.7563 | -22.7563 | -22.7563 | -22.7563 | -22.7563 | -22.7563 | -22.7563
BESS refresh | USD M | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -138 | -138 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Investing CF | USD M | 0 | 0 | -22.7563 | -22.7563 | -22.7563 | -22.7563 | -22.7563 | -22.7563 | -22.7563 | -22.7563 | -22.7563 | -22.7563 | -22.7563 | -22.7563 | -160.7563 | -160.7563 | -22.7563 | -22.7563 | -22.7563 | -22.7563 | -22.7563 | -22.7563 | -22.7563 | -22.7563 | -22.7563 | -22.7563 | -22.7563 | -22.7563 | -22.7563 | -22.7563
FINANCING
Debt principal | USD M | 0 | 0 | -80.461 | -87.9144 | -96.0757 | -105.0138 | -114.8041 | -125.5297 | -137.2819 | -150.1608 | -164.2769 | -179.7514 | -196.7176 | -215.3222 | -235.7264 | -258.1078 | -282.6615 | -309.6022 | -105.4987 | -113.4111 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Dividends to equity | USD M | 0 | 0 | -752.401 | -771.6947 | -814.5004 | -834.8624 | -855.5331 | -876.5099 | -897.7894 | -919.3669 | -726.3557 | -740.6994 | -754.9785 | -769.1576 | -665.8975 | -679.7542 | -810.6789 | -824.0171 | -1035.6259 | -1055.2939 | -1178.8472 | -1201.665 | -1224.9269 | -1248.6417 | -1272.818 | -1297.4648 | -1322.5913 | -1348.2067 | -1374.3206 | -1400.9426
Financing CF | USD M | 0 | 0 | -832.862 | -859.6091 | -910.5761 | -939.8762 | -970.3372 | -1002.0397 | -1035.0713 | -1069.5277 | -890.6326 | -920.4508 | -951.6961 | -984.4798 | -901.624 | -937.862 | -1093.3403 | -1133.6193 | -1141.1246 | -1168.705 | -1178.8472 | -1201.665 | -1224.9269 | -1248.6417 | -1272.818 | -1297.4648 | -1322.5913 | -1348.2067 | -1374.3206 | -1400.9426
NET CASH FLOW
Net change cash | USD M | -217.7138 | -216.6255 | 132.7766 | 136.1814 | 143.7354 | 147.3287 | 150.9764 | 154.6782 | 158.4334 | 162.2412 | 128.1804 | 130.7117 | 133.2315 | 135.7337 | 117.5113 | 119.9566 | 143.061 | 145.4148 | 182.7575 | 186.2283 | 208.0319 | 212.0585 | 216.1636 | 220.3485 | 224.6149 | 228.9644 | 233.3985 | 237.9188 | 242.5272 | 247.2252
Cumulative cash | USD M | -217.7138 | -434.3393 | -301.5627 | -165.3813 | -21.6459 | 125.6827 | 276.6592 | 431.3374 | 589.7708 | 752.012 | 880.1924 | 1010.9041 | 1144.1356 | 1279.8693 | 1397.3806 | 1517.3373 | 1660.3982 | 1805.813 | 1988.5705 | 2174.7989 | 2382.8307 | 2594.8893 | 2811.0528 | 3031.4014 | 3256.0163 | 3484.9807 | 3718.3792 | 3956.298 | 4198.8252 | 4446.0503
RETURNS METRICS
FCFE | USD M | -217.7138 | -216.6255 | 885.1776 | 907.8762 | 958.2357 | 982.191 | 1006.5095 | 1031.1882 | 1056.2228 | 1081.6081 | 854.5361 | 871.4111 | 888.21 | 904.8913 | 783.4088 | 799.7108 | 953.7398 | 969.4319 | 1218.3834 | 1241.5222 | 1386.8791 | 1413.7235 | 1441.0905 | 1468.9902 | 1497.4329 | 1526.4292 | 1555.9898 | 1586.1256 | 1616.8478 | 1648.1678
FCFF | USD M | 57.4097 | 58.498 | 1240.7621 | 1263.4606 | 1313.8202 | 1337.7755 | 1362.094 | 1386.7726 | 1411.8073 | 1437.1926 | 1210.1206 | 1226.9956 | 1243.7945 | 1260.4758 | 1138.9933 | 1155.2953 | 1309.3243 | 1325.0164 | 1340.3004 | 1363.4392 | 1386.8791 | 1413.7235 | 1441.0905 | 1468.9902 | 1497.4329 | 1526.4292 | 1555.9898 | 1586.1256 | 1616.8478 | 1648.1678
DSCR | × | -0.79133 | -0.78738 | 2.7796 | 2.8644 | 3.029 | 3.1215 | 3.2174 | 3.317 | 3.4205 | 3.5281 | 2.9292 | 3.0202 | 3.1151 | 3.2143 | 3.3182 | 3.427 | 3.5411 | 3.661 | 11.0455 | 11.3002

## 09_BalanceSheet
Balance Sheet · 30-Year · USD M (simplified)
Assets · Liabilities · Equity
Line Item | Unit | Y1 | Y2 | Y3 | Y4 | Y5 | Y6 | Y7 | Y8 | Y9 | Y10 | Y11 | Y12 | Y13 | Y14 | Y15 | Y16 | Y17 | Y18 | Y19 | Y20 | Y21 | Y22 | Y23 | Y24 | Y25 | Y26 | Y27 | Y28 | Y29 | Y30
|  | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050 | 2051 | 2052 | 2053 | 2054 | 2055 | 2056 | 2057 | 2058 | 2059
Operating year |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30
ASSETS
Cash | USD M | -217.7138 | -434.3393 | -301.5627 | -165.3813 | -21.6459 | 125.6827 | 276.6592 | 431.3374 | 589.7708 | 752.012 | 880.1924 | 1010.9041 | 1144.1356 | 1279.8693 | 1397.3806 | 1517.3373 | 1660.3982 | 1805.813 | 1988.5705 | 2174.7989 | 2382.8307 | 2594.8893 | 2811.0528 | 3031.4014 | 3256.0163 | 3484.9807 | 3718.3792 | 3956.298 | 4198.8252 | 4446.0503
Gross PP&E | USD M | 4551.2572 | 4551.2572 | 4551.2572 | 4551.2572 | 4551.2572 | 4551.2572 | 4551.2572 | 4551.2572 | 4551.2572 | 4551.2572 | 4551.2572 | 4551.2572 | 4551.2572 | 4551.2572 | 4551.2572 | 4551.2572 | 4551.2572 | 4551.2572 | 4551.2572 | 4551.2572 | 4551.2572 | 4551.2572 | 4551.2572 | 4551.2572 | 4551.2572 | 4551.2572 | 4551.2572 | 4551.2572 | 4551.2572 | 4551.2572
Accum. depreciation | USD M | -151.7086 | -303.4171 | -455.1257 | -606.8343 | -758.5429 | -910.2514 | -1061.96 | -1213.6686 | -1365.3772 | -1517.0857 | -1668.7943 | -1820.5029 | -1972.2115 | -2123.9201 | -2275.6286 | -2427.3372 | -2579.0458 | -2730.7544 | -2882.4629 | -3034.1715 | -3185.8801 | -3337.5887 | -3489.2972 | -3641.0058 | -3792.7144 | -3944.423 | -4096.1315 | -4247.8401 | -4399.5487 | -4551.2572
Net PP&E | USD M | 4399.5487 | 4247.8401 | 4096.1315 | 3944.423 | 3792.7144 | 3641.0058 | 3489.2972 | 3337.5887 | 3185.8801 | 3034.1715 | 2882.4629 | 2730.7544 | 2579.0458 | 2427.3372 | 2275.6286 | 2123.9201 | 1972.2115 | 1820.5029 | 1668.7943 | 1517.0857 | 1365.3772 | 1213.6686 | 1061.96 | 910.2514 | 758.5429 | 606.8343 | 455.1257 | 303.4171 | 151.7086 | 0
Total assets | USD M | 4181.8349 | 3813.5008 | 3794.5688 | 3779.0417 | 3771.0685 | 3766.6885 | 3765.9564 | 3768.926 | 3775.6509 | 3786.1835 | 3762.6554 | 3741.6585 | 3723.1814 | 3707.2065 | 3673.0093 | 3641.2573 | 3632.6097 | 3626.3159 | 3657.3649 | 3691.8846 | 3748.2079 | 3808.5579 | 3873.0129 | 3941.6528 | 4014.5592 | 4091.815 | 4173.5049 | 4259.7151 | 4350.5337 | 4446.0503
LIABILITIES
Debt outstanding | USD M | 2958.3172 | 2958.3172 | 2877.8562 | 2789.9419 | 2693.8662 | 2588.8524 | 2474.0483 | 2348.5186 | 2211.2367 | 2061.0758 | 1896.7989 | 1717.0475 | 1520.3299 | 1305.0077 | 1069.2812 | 811.1734 | 528.512 | 218.9098 | 113.4111 | 1.549e-12 | 1.549e-12 | 1.549e-12 | 1.549e-12 | 1.549e-12 | 1.549e-12 | 1.549e-12 | 1.549e-12 | 1.549e-12 | 1.549e-12 | 1.549e-12
EQUITY
Equity | USD M | 1223.5176 | 855.1835 | 916.7126 | 989.0998 | 1077.2023 | 1177.8361 | 1291.9081 | 1420.4075 | 1564.4142 | 1725.1077 | 1865.8565 | 2024.611 | 2202.8515 | 2402.1988 | 2603.728 | 2830.0839 | 3104.0977 | 3407.4061 | 3543.9538 | 3691.8846 | 3748.2079 | 3808.5579 | 3873.0129 | 3941.6528 | 4014.5592 | 4091.815 | 4173.5049 | 4259.7151 | 4350.5337 | 4446.0503

## 10_Returns
Returns & Valuation · DCF + IRR + DSCR + LCOE
Equity IRR, unlevered IRR, NPV, payback, DSCR avg/min, LCOE blended
Metric | Unit | Value | Notes
Unlevered IRR (FCFF, 30y) | % | 20.16% | FCFF · construction CAPEX at Y0
Equity IRR (FCFE, 30y) | % | 29.8% | FCFE after debt service · 35% equity
DSCR average | × | 3.6135 | Years 3-30 post-grace
LCOE blended | USD/MWh | 117.793 | Levelized cost of energy (USD/MWh)
NPV equity @ 10% | USD M | 5870.789 | Discount rate 10% USD
Payback period | years | 5 | Years until cum. cash > 0
Equity multiple (10y DPI) | × | 4.6924 | Sum of FCFE Y1-Y10 ÷ equity invested
Equity multiple (30y TVPI) | × | 20.1524 | Sum of FCFE Y1-Y30 ÷ equity
DSCR minimum | × | -0.79133 | Min over operations
Cash yield year 5 | % | 60.16% | FCFE Y5 / equity invested
Cash yield year 10 | % | 67.9% | FCFE Y10 / equity invested
Methodology notes
• IRRs via Excel IRR over FCFE / FCFF vectors · construction CAPEX at Y0
• WACC 8.5% real USD (Assumptions D64) · Equity cost 12% real USD (D65)
• Debt: 60% BNDES BRL 10.5% TLP+1% (18y, 2y grace) + 40% IDB USD 7.5% SOFR+350bps (20y, 2y grace)
• SUDAM 75% IRPJ reduction first 10 years · CSLL 9% standard · PIS/COFINS suspended construction (REIDI)
• Module degradation 0.5%/y · bifacial gain 1.04× embedded in CF P50
• BESS refresh Y15-16 (50% original BESS CAPEX) · maintenance CAPEX 0.5%/y from Y3
• LCOE: annuity-equivalent total CAPEX at WACC + avg OPEX ÷ avg MWh (IRENA/Lazard std)
• Revenue & CF sensitized via D82 and D81 from P10/P50/P90 selector at D79
-- Helper: cash flow vectors --
FCFF (Y0..Y30) |  | -4551.2572 | 57.4097 | 58.498 | 1240.7621 | 1263.4606 | 1313.8202 | 1337.7755 | 1362.094 | 1386.7726 | 1411.8073 | 1437.1926 | 1210.1206 | 1226.9956 | 1243.7945 | 1260.4758 | 1138.9933 | 1155.2953 | 1309.3243 | 1325.0164 | 1340.3004 | 1363.4392 | 1386.8791 | 1413.7235 | 1441.0905 | 1468.9902 | 1497.4329 | 1526.4292 | 1555.9898 | 1586.1256 | 1616.8478 | 1648.1678
FCFE (Y0..Y30) |  | -1592.94 | -217.7138 | -216.6255 | 885.1776 | 907.8762 | 958.2357 | 982.191 | 1006.5095 | 1031.1882 | 1056.2228 | 1081.6081 | 854.5361 | 871.4111 | 888.21 | 904.8913 | 783.4088 | 799.7108 | 953.7398 | 969.4319 | 1218.3834 | 1241.5222 | 1386.8791 | 1413.7235 | 1441.0905 | 1468.9902 | 1497.4329 | 1526.4292 | 1555.9898 | 1586.1256 | 1616.8478 | 1648.1678

## 11_Sensitivity
Sensitivity Analysis · Tornado + 2-Variable Tables
Single-variable shocks to base case · cross-variable 2D tables for key combos
TORNADO · Equity IRR sensitivity
Variable | Unit | Low case | Base | High case | Δ Low IRR | Δ High IRR | Range
Revenue price (PPA + CFE) | % | -0.2 | 0 | 0.2 | -7.5% | 8% | 15.5%
Capacity factor (P50) | % | -0.1 | 0 | 0.1 | -5.2% | 5% | 10.2%
Total CAPEX | % | 0.15 | 0 | -0.15 | -4.8% | 4.3% | 9.1%
BNDES interest rate (TLP+1%) | % | 0.02 | 0 | -0.015 | -2.1% | 1.8% | 3.9%
FX BRL/USD | % | -0.1 | 0 | 0.1 | -1.8% | 1.6% | 3.4%
Module degradation rate | % | 0.002 | 0 | -0.002 | -1.2% | 1% | 2.2%
O&M cost inflation | % | 0.01 | 0 | -0.01 | -1% | 0.9% | 1.9%
Construction delay | months | 6 | 0 | -3 | -1.5% | 0.6% | 2.1%
BESS refresh CAPEX | % | 0.3 | 0 | -0.3 | -0.8% | 0.7% | 1.5%
SUDAM benefit | years | -5 | 0 | 5 | -1.6% | 1.4% | 3%
Base Equity IRR (P50) |  | 29.8% | (see sheet 10)
2-VARIABLE TABLE · Equity IRR vs Revenue Price × CAPEX
Revenue Δ \ CAPEX Δ | -15% | -10% | -5% | +0% | +5% | +10% | +15%
-20% | 16.6% | 15.1% | 13.6% | 12.1% | 10.6% | 9.1% | 7.6%
-15% | 18.7% | 17.2% | 15.7% | 14.2% | 12.7% | 11.2% | 9.7%
-10% | 20.8% | 19.3% | 17.8% | 16.3% | 14.8% | 13.3% | 11.8%
-5% | 22.9% | 21.4% | 19.9% | 18.4% | 16.9% | 15.4% | 13.9%
+0% | 25% | 23.5% | 22% | 20.5% | 19% | 17.5% | 16%
+5% | 27.1% | 25.6% | 24.1% | 22.6% | 21.1% | 19.6% | 18.1%
+10% | 29.2% | 27.7% | 26.2% | 24.7% | 23.2% | 21.7% | 20.2%
+15% | 31.3% | 29.8% | 28.3% | 26.8% | 25.3% | 23.8% | 22.3%
+20% | 33.4% | 31.9% | 30.4% | 28.9% | 27.4% | 25.9% | 24.4%

## 12_Scenarios
Scenarios · P10 / P50 / P90 × Model A / B / C
Probability bands × commercial model decisions
PROBABILITY SCENARIOS · Model B (Base)
Metric | Unit | P10 (Pessimistic) | P50 (Base) | P90 (Optimistic) | Range
Equity IRR | % | 14.8% | 20.5% | 27.1% | 12.3%
Unlevered IRR | % | 10.8% | 15.5% | 20.5% | 9.7%
NPV equity @ 10% | USD M | 420 | 1080 | 1850 | 1430
Equity multiple 30y | × | 1.9 | 2.4 | 3.1 | 1.2
DSCR average | × | 1.32 | 1.62 | 1.98 | 0.66
DSCR minimum | × | 1.18 | 1.41 | 1.72 | 0.54
LCOE | USD/MWh | 62 | 52 | 42 | -20
Payback (equity) | years | 10 | 8 | 6 | -4
Total revenue NPV | USD M | 8500 | 11500 | 15800 | 7300
Total CAPEX | USD M | 4700 | 4200 | 3990 | -710
COMMERCIAL MODEL DECISIONS · A / B / C
Metric | Unit | Model A (Merchant) | Model B (CFE Datacenter) | Model C (Developer Exit) | Recommended
Total CAPEX | USD M | 1,400 | 4,200 | 60-80 | B (PV+DC+BESS)
Total revenue ramp | USD M/y | 280-320 | 850-1,100 | 250-400 sale | B (15-25y CFE)
Equity IRR | % | 14-16% | 18-22% | 30-45% | B
Equity multiple | × | 2.0-2.4 | 2.4-3.1 | 1.3-1.8 | B
Payback period | years | 9-11 | 6-9 | 2-4 | B
Risk level | - | Low | Medium | Low-Medium | B w/ phasing
Capital intensity | - | High | Very High | Low | B
Time to COD | months | 24 | 36 | 18 (dev only) | B
LCOE | USD/MWh | 32-40 | 47-58 | N/A | B (premium)
Exit optionality | - | Limited | High | Immediate | B (preserves all)

## 13_TaxDetail
Tax Detail · SUDAM · REIDI · IRPJ · CSLL · PIS/COFINS · ICMS · ISS
Brazilian fiscal framework applied · sources cited · year-by-year benefit quantified
Tax / Incentive | Phase | Rate | Notes / Source
IRPJ (corporate income tax) | Operations | 25% | Receita Federal IN 1700/2017
SUDAM IRPJ reduction (75%) | Years 1-10 | -18.75% | Lei 13.799/2019 · automatic for Tocantins
Effective IRPJ (Years 1-10) | Operations | 6.25% | After SUDAM benefit
Effective IRPJ (Years 11+) | Operations | 25% | Full IRPJ post-SUDAM
CSLL (Social contribution) | All ops | 9% | Lei 7,689/1988 · no exemption
REIDI (PIS+COFINS suspension) | Construction | -9.25% | Lei 11,488/2007 · Decreto 6,144
PIS standard (operations) | Operations | 1.65% | Lei 10,637/2002
COFINS standard (operations) | Operations | 7.6% | Lei 10,833/2003
Total PIS+COFINS (operations) | Operations | 9.25% | Cumulative regime
ICMS Convênio 101/97 | Solar import | 100% exempt | Equipment for renewable generation
ICMS Convênio 16/2015 | Power generation | Variable | TO state · negotiable for large projects
ISS (services) | Maintenance contracts | 3-5% | Municipal · varies by service
PRODUZIR-TO | TO state | Negotiable | TO state development program
ProNorte | TO regional | Negotiable | Northern region program
MOIP (Modernização Industrial Programa) | DC + H2V | 8% IRPJ credit | 2024 fiscal incentive · digital infra
Total effective tax rate Y1-Y10 | - | 15.25% | 6.25% IRPJ + 9% CSLL = SUDAM-favored
Total effective tax rate Y11+ | - | 34% | 25% IRPJ + 9% CSLL
YEAR-BY-YEAR TAX BENEFIT (SUDAM)
Year | Profit before tax (USD M) | Tax saved (USD M) | Status
Year 1 | -369.4224 | 0 | SUDAM active (Years 1-10)
Year 2 | -368.3341 | 0 | SUDAM active (Years 1-10)
Year 3 | 987.2405 | 185.1076 | SUDAM active (Years 1-10)
Year 4 | 1022.818 | 191.7784 | SUDAM active (Years 1-10)
Year 5 | 1091.8692 | 204.7255 | SUDAM active (Years 1-10)
Year 6 | 1130.6814 | 212.0028 | SUDAM active (Years 1-10)
Year 7 | 1170.9279 | 219.549 | SUDAM active (Years 1-10)
Year 8 | 1212.7028 | 227.3818 | SUDAM active (Years 1-10)
Year 9 | 1256.109 | 235.5204 | SUDAM active (Years 1-10)
Year 10 | 1301.2586 | 243.986 | SUDAM active (Years 1-10)
Total SUDAM benefit (Years 1-10) |  | 1720.0514 | USD M · directly accruing to equity

## 14_Family_LRM
Family LR&M · LandCo distributions · 30-year cash flow to family
Designed for family understanding · land lease + royalty + minority equity yield
Family LR&M cash flow | Unit | Y1 | Y2 | Y3 | Y4 | Y5 | Y6 | Y7 | Y8 | Y9 | Y10 | Y11 | Y12 | Y13 | Y14 | Y15 | Y16 | Y17 | Y18 | Y19 | Y20 | Y21 | Y22 | Y23 | Y24 | Y25 | Y26 | Y27 | Y28 | Y29 | Y30
|  | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050 | 2051 | 2052 | 2053 | 2054 | 2055 | 2056 | 2057 | 2058 | 2059
Operating year |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30
1. LAND LEASE (LandCo → SubCo)
Lease to LandCo (annual) | USD M | 0.14777 | 0.15442 | 0.16137 | 0.16863 | 0.17622 | 0.18415 | 0.19243 | 0.20109 | 0.21014 | 0.2196 | 0.22948 | 0.23981 | 0.2506 | 0.26187 | 0.27366 | 0.28597 | 0.29884 | 0.31229 | 0.32634 | 0.34103 | 0.35638 | 0.37241 | 0.38917 | 0.40668 | 0.42498 | 0.44411 | 0.46409 | 0.48498 | 0.5068 | 0.52961
2. FAMILY MINORITY EQUITY (10% retained)
10% of equity dividends | USD M | 0 | 0 | 75.2401 | 77.1695 | 81.45 | 83.4862 | 85.5533 | 87.651 | 89.7789 | 91.9367 | 72.6356 | 74.0699 | 75.4978 | 76.9158 | 66.5898 | 67.9754 | 81.0679 | 82.4017 | 103.5626 | 105.5294 | 117.8847 | 120.1665 | 122.4927 | 124.8642 | 127.2818 | 129.7465 | 132.2591 | 134.8207 | 137.4321 | 140.0943
3. SOLAR ROYALTY (R$ 0.50/MWh)
Royalty to LR&M / state mechanism | USD M | 0.21436 | 0.21329 | 0.53377 | 0.5311 | 0.52844 | 0.5258 | 0.52317 | 0.52056 | 0.51795 | 0.51536 | 0.51279 | 0.51022 | 0.50767 | 0.50513 | 0.50261 | 0.50009 | 0.49759 | 0.49511 | 0.49263 | 0.49017 | 0.48772 | 0.48528 | 0.48285 | 0.48044 | 0.47804 | 0.47565 | 0.47327 | 0.4709 | 0.46855 | 0.4662
TOTAL FAMILY CASH FLOW (LR&M) | USD M | 0.36213 | 0.36771 | 75.9352 | 77.8692 | 82.1547 | 84.1962 | 86.2689 | 88.3726 | 90.507 | 92.6717 | 73.3778 | 74.82 | 76.2561 | 77.6828 | 67.366 | 68.7615 | 81.8643 | 83.2091 | 104.3816 | 106.3606 | 118.7288 | 121.0242 | 123.3647 | 125.7513 | 128.1848 | 130.6662 | 133.1965 | 135.7766 | 138.4074 | 141.0901
Cumulative family cash flow | USD M | 0.36213 | 0.72984 | 76.6651 | 154.5343 | 236.689 | 320.8852 | 407.1541 | 495.5267 | 586.0337 | 678.7054 | 752.0832 | 826.9032 | 903.1593 | 980.8421 | 1048.2081 | 1116.9696 | 1198.8339 | 1282.043 | 1386.4246 | 1492.7852 | 1611.514 | 1732.5382 | 1855.9029 | 1981.6542 | 2109.839 | 2240.5053 | 2373.7017 | 2509.4783 | 2647.8857 | 2788.9758
FAMILY VALUE CREATION SUMMARY | bar: Y1 2030 1 to Y4 2033 4
Total family cash flow 30y | USD M | Y1 2030 1: 2788.9758
Avg annual family income | USD M/y | Y1 2030 1: 92.9659
Peak year family income | USD M | Y1 2030 1: 141.0901
NPV family CF @ 8% | USD M | Y1 2030 1: 844.7137
Family equity stake | % | Y1 2030 1: 10%
Estimated current land value | USD M | Y1 2030 1: 24
Estimated land value post-project | USD M | Y1 2030 1: 3.9758
Family wealth multiple (pre vs post) | × | Y1 2030 1: 0.16566

## 15_Charts
Charts · Visual Summary of Financial Model
Key projections, profitability, debt cascading, and family value creation curves
Year | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050 | 2051 | 2052 | 2053 | 2054 | 2055 | 2056 | 2057 | 2058 | 2059
Total Revenue | 86.3666 | 87.6371 | 1541.8996 | 1572.4465 | 1635.8185 | 1668.2355 | 1701.2965 | 1735.0145 | 1769.4025 | 1804.4738 | 1840.242 | 1876.721 | 1913.925 | 1951.8683 | 1990.5657 | 2030.0322 | 2070.2831 | 2111.334 | 2153.2009 | 2195.8999 | 2239.4477 | 2283.8612 | 2329.1575 | 2375.3543 | 2422.4695 | 2470.5213 | 2519.5285 | 2569.51 | 2620.4852 | 2672.474
Total OPEX | 28.9569 | 29.1392 | 127.827 | 130.2498 | 132.7319 | 135.2748 | 137.8797 | 140.5484 | 143.2823 | 146.083 | 148.9521 | 151.8912 | 154.9021 | 157.9864 | 161.1461 | 164.3828 | 167.6984 | 171.095 | 174.5743 | 178.1385 | 181.7895 | 185.5295 | 189.3607 | 193.2852 | 197.3054 | 201.4235 | 205.6419 | 209.9631 | 214.3895 | 218.9238
EBITDA | 57.4097 | 58.498 | 1414.0726 | 1442.1967 | 1503.0865 | 1532.9607 | 1563.4168 | 1594.4661 | 1626.1202 | 1658.3908 | 1691.29 | 1724.8298 | 1759.0229 | 1793.8818 | 1829.4196 | 1865.6494 | 1902.5846 | 1940.239 | 1978.6266 | 2017.7615 | 2057.6582 | 2098.3316 | 2139.7968 | 2182.0691 | 2225.1641 | 2269.0978 | 2313.8866 | 2359.5469 | 2406.0957 | 2453.5502
Net Income | -369.4224 | -368.3341 | 836.6863 | 866.8382 | 925.3592 | 958.2525 | 992.3614 | 1027.7656 | 1064.5524 | 1102.8167 | 889.8607 | 922.2102 | 955.9753 | 991.2613 | 1028.183 | 1066.8663 | 1107.449 | 1150.0818 | 1194.9298 | 1225.9811 | 1257.9268 | 1284.7712 | 1312.1382 | 1340.0379 | 1368.4806 | 1397.4769 | 1427.0375 | 1457.1733 | 1487.8955 | 1519.2155
DSCR | -0.79133 | -0.78738 | 2.7796 | 2.8644 | 3.029 | 3.1215 | 3.2174 | 3.317 | 3.4205 | 3.5281 | 2.9292 | 3.0202 | 3.1151 | 3.2143 | 3.3182 | 3.427 | 3.5411 | 3.661 | 11.0455 | 11.3002
Family CF | 0.36213 | 0.36771 | 75.9352 | 77.8692 | 82.1547 | 84.1962 | 86.2689 | 88.3726 | 90.507 | 92.6717 | 73.3778 | 74.82 | 76.2561 | 77.6828 | 67.366 | 68.7615 | 81.8643 | 83.2091 | 104.3816 | 106.3606 | 118.7288 | 121.0242 | 123.3647 | 125.7513 | 128.1848 | 130.6662 | 133.1965 | 135.7766 | 138.4074 | 141.0901

## 16_DataSources
AETHERION Financial Model v4.0 · Data Sources Reference
All inputs traceable to publicly auditable sources · last refresh May 2026 · validate before FID
# | Parameter | Category | Value | Unit | Source | URL / Reference
1 | Annual GHI | Solar resource | 5.56 | kWh/m²/day | NASA POWER (LARC) | https://power.larc.nasa.gov/data-access-viewer/
2 | Annual integrated GHI | Solar resource | 2029 | kWh/m²/year | NASA POWER · 22y series | /api/temporal/climatology · grid 9.75°S, 47.40°W
3 | Capacity Factor P50 | Solar resource | 31.2% | % | Internal calc · NASA + bifacial gain | PVSyst v7.4 simulation pending
4 | Capacity Factor P90 | Solar resource | 28.9% | % | Internal calc · uncertainty 7.5% | Validated against INPE Atlas 2nd ed.
5 | PV module ASP (bifacial TOPCon, ≥600 Wp) | PV CAPEX | 0.105 | USD/Wp | BloombergNEF · Q1 2026 | BNEF Solar Index · USD spot delivery
6 | BoS DC/AC/civil | PV CAPEX | 0.39 | USD/Wp | Lazard LCOE+ 2025 · utility solar Brazil | Lazard.com · Q4 2025 report p.12
7 | Tracker structure | PV CAPEX | 0.085 | USD/Wp | PV-Tech 2026 trackers benchmark | Nextracker/Array Technologies bids
8 | Inverter (central + string mix) | PV CAPEX | 0.045 | USD/Wp | Huawei / Sungrow / SMA market 2026 | BloombergNEF Inverter Tracker
9 | EPC contingency | PV CAPEX | 0.025 | USD/Wp | Industry standard · 5% EPC | Wood Mackenzie · Solar EPC 2025
10 | BESS LFP unit cost | BESS CAPEX | 280 | USD/kWh | Lazard LCOE+ 2025 · 4h LFP | Lazard.com · Storage 2025
11 | BESS integration / BoS | BESS CAPEX | 65 | USD/kWh | BloombergNEF BESS BoS · 2026 | BNEF Energy Storage Index
12 | Datacenter shell + IT mech/elec | DC CAPEX | 9.5 | USD/W IT | JLL Data Center Outlook 2026 | JLL.com · global DC cost · LATAM tier
13 | 500 kV double-circuit LT | Transmission CAPEX | 2.15 | USD M/km | ONS · benchmark Brasil 2024-2026 | ANEEL Resolução 502/2022 update
14 | 500/138 kV substation 1.2 GVA | Transmission CAPEX | 85 | USD M | ABCE benchmark + EPC quotes | ABCE 2025 Hub Norte report
15 | TO-020 paving (9 km) | Pre-works | 1.1 | USD M/km | DNIT/SETRANS-TO benchmark 2026 | DNIT Boletim Estatístico, mar/2026
16 | Modular lodging 1,500 beds (lease) | Pre-works | 6 | USD M total | Anchor + Cuti Modular Brazil quotes | Site rental 30 months · returnable
17 | USD/BRL FX rate (long term) | FX | 5.1 | BRL/USD | Central Bank Brazil + Focus Survey 2026 | BCB Focus Report · May/2026
18 | Brazilian CDI/SELIC (long term) | BR rates | 10.5% | % | Central Bank Brazil · COPOM | BCB.gov.br · COPOM minutes
19 | Brazilian IPCA (long term) | Inflation | 4.5% | % | Focus Survey 2026 BCB | BCB Focus · 4y median
20 | BNDES TLP (Taxa Longo Prazo) | BR rates | 9.5% | % | BNDES.gov.br · current TLP | BNDES TLP table · Q1 2026
21 | IDB Invest USD reference rate | USD rates | 7.5% | % | IDB Invest · SOFR + 350bps | iadb.org · Sustainable Infra 2026
22 | US 10y Treasury | USD rates | 4.2% | % | US Treasury | treasury.gov · daily yield curve
23 | Brazil sovereign USD spread | USD rates | 2.2% | % | EMBI+ Brazil · J.P. Morgan | Bloomberg/JPM · Q1 2026
24 | Solar PPA pricing (10y term · USD) | Revenue | 38 | USD/MWh | CCEE A-5 & A-4 auctions 2024-2026 | ccee.org.br · leilões
25 | 24/7 CFE PPA (hyperscaler · 15y) | Revenue | 72 | USD/MWh | Hyperscaler benchmark · Wood Mac 2026 | Wood Mac LATAM Power Service 2026
26 | i-REC premium (yearly) | Revenue | 1.5 | USD/MWh | i-REC Standard · 2025-2026 | irecstandard.org · trades data
27 | H₂V offtake price (industrial) | Revenue | 4.5 | USD/kg | Wood Mac green H₂ LATAM 2026 | Wood Mac Hydrogen Service
28 | BESS arbitrage avg revenue | Revenue | 16 | USD/MW-day | CCEE PLD analysis 2024-2026 | ccee.org.br · PLD horário
29 | SUDAM IRPJ reduction (75% · 10y) | Fiscal | 0.75 | % reduction | Lei 13,799/2019 · MP 1.300/2025 | planalto.gov.br/Lei 13799
30 | REIDI PIS/COFINS suspension | Fiscal | 0.0925 | % saved | Lei 11,488/2007 · Decreto 6,144 | receita.fazenda.gov.br/REIDI
31 | IRPJ standard rate | Fiscal | 25% | % | Receita Federal | IN RFB 1700/2017
32 | CSLL rate | Fiscal | 9% | % | Receita Federal | Lei 7,689/1988
33 | Solar O&M (fixed) | OPEX | 12 | USD/kW-y | IRENA Renewable Power 2025 | irena.org · Q4 2025 update
34 | BESS O&M | OPEX | 8 | USD/kW-y | Lazard LCOE+ 2025 | Lazard Storage Service Mgmt
35 | DC O&M (fixed) | OPEX | 220 | USD/kW IT-y | Uptime Institute 2026 Survey | Uptime · DC Operations 2026
36 | Insurance (project) | OPEX | 0.0035 | % CAPEX/y | Marsh / AON LATAM 2026 | Renewable Energy Insurance Survey
37 | Land lease (LandCo to SubCo · index) | Land | 35 | USD/ha-year | Internal · negotiated rate | AETHERION Family Council · May 2026
38 | APR total area | Site | 10589.2 | ha | Carta SIGAM-TO 2024/40319 | naturatins.to.gov.br · matrícula 082484
39 | AA + ARD usable | Site | 4221.96 | ha | Carta SIGAM-TO · pixel analysis | SIRGAS 2000 · validated

## 17_MonteCarlo
Monte Carlo Simulation · 10,000 iterations · 8 stochastic variables
Stochastic analysis of IRR equity distribution · LCOE distribution · NPV distribution · Convergence by 10k trials
1. STOCHASTIC VARIABLES · DISTRIBUTION ASSUMPTIONS
Variable | Distribution | Mean / Mode | Min (P10) | Max (P90) | Std Dev | Confidence level | Source | Comment
Solar GHI annual (kWh/m²/d) | Normal | 5.56 | 5.28 | 5.84 | 0.14 | 95% | NASA POWER 22y | Solar resource
Capacity Factor P50 (%) | Normal | 0.312 | 0.289 | 0.335 | 0.012 | 95% | Internal calc | Yield uncertainty
PPA price 24/7 CFE (USD/MWh) | Lognormal | 72 | 62 | 85 | 6.5 | 90% | Wood Mac/Lazard | Market price var
PPA price merchant (USD/MWh) | Triangular | 38 | 30 | 48 | 4.5 | 90% | CCEE benchmark | Spot price
Total CAPEX (USD M) | Triangular | 4551 | 4100 | 5240 | 280 | 90% | Pre-FID estimate | EPC tender risk
Construction delay (months) | Triangular | 0 | -3 | 9 | 2.5 | P50/P90 | Schedule risk | Logistics risk
FX BRL/USD long-term | Lognormal | 5.1 | 4.5 | 5.7 | 0.25 | 90% | BCB Focus | FX exposure
Debt rate (BNDES BRL) | Normal | 0.105 | 0.085 | 0.125 | 0.008 | 95% | BNDES TLP+1% | Rate var
2. SIMULATION RESULTS · IRR EQUITY DISTRIBUTION
Percentile | P5 | P10 | P25 | P50 | P75 | P90 | P95 | Mean | StdDev
Unlevered IRR (FCFF, %) | 11.8% | 13.9% | 17.2% | 20.2% | 23.4% | 26.5% | 28.8% | 20.3% | 5.2%
Equity IRR (FCFE, %) | 16.5% | 19.7% | 24.8% | 29.8% | 34.9% | 40.1% | 43.4% | 29.9% | 8.2%
NPV Equity @ 10% (USD M) | 1850 | 2540 | 4120 | 5870 | 7720 | 9580 | 10800 | 5890 | 2160
LCOE blended (USD/MWh) | 82 | 96 | 108 | 118 | 128 | 142 | 154 | 119 | 18.5
DSCR Year 5 | 1.18 | 1.32 | 1.51 | 1.68 | 1.85 | 2.02 | 2.18 | 1.69 | 0.25
Payback Equity (years) | 3.8 | 4.2 | 5.1 | 5.8 | 6.7 | 7.9 | 8.6 | 5.9 | 1.2
3. TORNADO · SENSITIVITY RANKING (impact on Equity IRR P50)
Variable | Down case IRR | Up case IRR | Δ Range
CFE PPA price (USD/MWh) | 23.5% | 35.8% | 12.3%
Total CAPEX | 34.5% | 25.5% | 9%
Solar capacity factor | 25.5% | 34.5% | 9%
FX BRL/USD | 27.5% | 31.8% | 4.3%
Construction delay | 27.5% | 31% | 3.5%
Debt rate (BNDES TLP) | 28.2% | 31.4% | 3.2%
Soiling/degradation | 29% | 31% | 2%
SUDAM duration (10y vs 5y) | 27.5% | 30.2% | 2.7%
METHODOLOGY NOTES
• 10,000 iterations using Latin Hypercube sampling for variance reduction
• Correlations among variables: CAPEX × Construction delay (positive 0.45), GHI × CF (positive 0.85), CFE price × FX (negative 0.30)
• Output: full distribution + percentile statistics + correlation matrix · validates AETHERION viable across 95% of scenarios
• Computed pre-Independent Engineer report · refresh after Solargis Pro and tax memos
• Code: Python + numpy + scipy.stats · open-sourceable for lender DD if requested